## Comparison
NYISO Outlook Study Scenarios and Integration Analysis Mitigation Scenarios Installed Capacity (MW) | [20 empty] | NYISO Outlook Study Scenarios and Integration Analysis Mitigation Scenarios Installed Capacity (MW)
| NYISO Outlook Scenario 1 |  |  |  | NYISO Outlook Scenario 2 |  |  |  | Strategic Use of Low-Carbon Fuels |  |  |  | Accelerated Transition from Combustion |  |  |  | Beyond 85% Reduction |  |  |  |  | Resource 1 |  |  | Resource 2 |  |  | Integration 2 |  |  | Integration 3 |  |  | Integration 4
Resource | 2019 | 2030 | 2035 | 2040 | 2019 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040 | Resource | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040
Nuclear | 5400.1001 | 3363.5 | 3364.2 | 3364.2 | 5400.1001 | 3346.1 | 3364.2 | 3364.2 | 4860.2 | 3355.2 | 3355.2 | 3355.2 | 4860.2 | 3355.2 | 3355.2 | 3355.2 | 4860.2 | 3355.2 | 3355.2 | 3355.2 | Nuclear | -37.71% | -37.7% | -37.7% | -38.04% | -37.7% | -37.7% | -30.97% | -30.97% | -30.97% | -30.97% | -30.97% | -30.97% | -30.97% | -30.97% | -30.97%
Fossil | 26262 | 21231.7 | 21233.7 | 0 | 26262 | 17650 | 16070.54 | 0 | 26388.1 | 21578.92 | 18078.2 | 0 | 26388.1 | 22397.68 | 14292.33 | 0 | 26388.1 | 21579.05 | 20326.41 | 0 | Fossil | -19.15% | -19.15% | -100% | -32.79% | -38.81% | -100% | -18.22% | -31.49% | -100% | -15.12% | -45.84% | -100% | -18.22% | -22.97% | -100% | -8.949%
Hydro | 6330.7199 | 7537.06 | 7539.66 | 7540.06 | 6330.7199 | 7660.27 | 7583.76 | 7584.16 | 5753.86 | 7344.86 | 7344.86 | 7348.19 | 5753.86 | 7344.86 | 7348.19 | 7348.19 | 5753.86 | 7344.86 | 7348.19 | 7348.19 | Hydro | 19.06% | 19.1% | 19.1% | 21% | 19.79% | 19.8% | 27.65% | 27.65% | 27.71% | 27.65% | 27.71% | 27.71% | 27.65% | 27.71% | 27.71%
LBW | 1985.3 | 9086.2 | 12611.9 | 19087.2 | 1985.3 | 5889.83 | 12366.4 | 19087.2 | 1916.9 | 5573.93 | 10059.83 | 12242.2 | 1916.9 | 7021.13 | 10668.14 | 12522.63 | 1916.9 | 6508.42 | 10461.43 | 12679.25 | LBW | 3.5767 | 5.3526 | 8.6143 | 1.9667 | 5.229 | 8.6143 | 1.9078 | 4.248 | 5.3865 | 2.6628 | 4.5653 | 5.5328 | 2.3953 | 4.4575 | 5.6145 | 19087.2 | 12481.36 | 6605.84 | 52.93%
OSW | 0 | 5036 | 9000 | 9000 | 0 | 7436 | 9000 | 9720 | 0 | 6200 | 9906.4 | 14363.65 | 0 | 6600 | 10422.76 | 16756.49 | 0 | 6600 | 9967.44 | 15874.67 | OSW | [15 empty] | 9360 | 15664.9367 | -6304.9367 | -40.25%
Solar | 2147.5 | 14731.1 | 15504.1 | 15874.1 | 2147.5 | 14199.1 | 25049.09 | 44369.72 | 2591.84 | 18851.97 | 28993.94 | 43431.95 | 2591.84 | 16762.46 | 28625.44 | 41420.31 | 2591.84 | 18060.33 | 29841.48 | 41623.44 | Solar | 5.8597 | 6.2196 | 6.3919 | 5.6119 | 10.6643 | 19.6611 | 6.2736 | 10.1866 | 15.7572 | 5.4674 | 10.0444 | 14.981 | 5.9682 | 10.5136 | 15.0594 | 15874.1 | 42711.355 | -26837.255 | -62.83%
Storage | 1405.1 | 4409.9 | 5792.57 | 11450.03 | 1405.1 | 4409.9 | 6147.47 | 12809.9 | 2185.4 | 4435.46 | 7226.42 | 12148.57 | 2185.42 | 4435.46 | 9525.35 | 13642.42 | 2185.4 | 4435.42 | 7745.92 | 13011.59 | Storage | 2.1385 | 3.1225 | 7.1489 | 2.1385 | 3.3751 | 8.1167 | 1.0296 | 2.3067 | 4.559 | 1.0296 | 3.3586 | 5.2425 | 1.0296 | 2.5444 | 4.9539
DEFR | 0 | 419.64 | 7052.56 | 44750.23 | 0 | 819.31 | 3990.04 | 27200 | 0 | 0 | 0 | 21015.35 | 0 | 0 | 5489.27 | 23521.59 | 0 | 0 | 0 | 23676.28 | DEFR | [15 empty] | 44750.23 | 23853.305 | 20896.925 | 87.61%
Other | [8 empty] | 327 | 327 | 327 | 327 | 327 | 327 | 327 | 327 | 327 | 327 | 327 | 327 | Other
Total | 43530.7199 | 65815.1 | 82098.69 | 111065.82 | 43530.7199 | 61410.51 | 83571.5 | 124135.18 | 44023.3 | 67667.34 | 85291.85 | 114232.11 | 44023.32 | 68243.79 | 90053.68 | 118893.83 | 44023.3 | 68210.28 | 89373.07 | 117895.62 | Total | [19 empty] | 10.19%
NYISO Outlook Study Scenarios and Integration Analysis Mitigation Scenarios Generation (GWhr) | [20 empty] | NYISO Outlook Study Scenarios and Integration Analysis Mitigation Scenarios Generation (GWhr)
| NYISO Outlook Scenario 1 |  |  |  | NYISO Outlook Scenario 2 |  |  |  | Strategic Use of Low-Carbon Fuels |  |  |  | Accelerated Transition from Combustion |  |  |  | Beyond 85% Reduction |  |  |  |  | Resource 1 |  |  | Resource 2 |  |  | Integration 2 |  |  | Integration 3 |  |  | Integration 4
Resource | 2019 | 2030 | 2035 | 2040 | 2019 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040 | Resource | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040
Nuclear | 45428.5007 | 27444.03 | 28338.13 | 27092.16 | 45428.5007 | 27444.03 | 28338.13 | 27092.16 | 38317.8168 | 26452.3968 | 26452.3968 | 26452.3968 | 38317.8168 | 26452.3968 | 26452.3968 | 26452.3968 | 38317.8168 | 26452.3968 | 26452.3968 | 26452.3968 | Nuclear | -39.59% | -37.62% | -40.36% | -39.59% | -37.62% | -40.36% | -30.97% | -30.97% | -30.97% | -30.97% | -30.97% | -30.97% | -30.97% | -30.97% | -30.97%
Fossil | 50519.6659 | 19987.32 | 14516.19 | 0 | 50519.6659 | 20066.34 | 18908.41 | 0 | 70449.4279 | 24561.8053 | 19650.9047 | 0 | 70460.5745 | 25668.4258 | 21230.7915 | 0 | 70458.6696 | 25586.5948 | 20849.7572 | 0 | Fossil | -60.44% | -71.27% | -100% | -60.28% | -62.57% | -100% | -65.14% | -72.11% | -100% | -63.57% | -69.87% | -100% | -63.69% | -70.41% | -100%
Hydro | 40033.5704 | 46342.39 | 46392.32 | 46391.01 | 40033.5704 | 46342.39 | 46392.32 | 46391.01 | 37481.4093 | 49977.6058 | 50083.8904 | 49165.4621 | 37481.7717 | 49990.8755 | 50113.8773 | 49102.7486 | 37481.6871 | 49987.0551 | 50114.7998 | 49143.8568 | Hydro | 15.76% | 15.88% | 15.88% | 15.76% | 15.88% | 15.88% | 33.34% | 33.62% | 31.17% | 33.37% | 33.7% | 31% | 33.36% | 33.7% | 31.11%
LBW | 4415.606 | 26971.24 | 38296.81 | 59361.62 | 4415.606 | 16493.5 | 37460.47 | 59361.62 | 4796.1884 | 16817.0422 | 34039.0346 | 41165.2434 | 4796.1919 | 21840.5944 | 35518.8559 | 41801.6172 | 4796.2038 | 20415.0591 | 35310.6006 | 42309.5072 | LBW | 5.1082 | 7.6731 | 12.4436 | 2.7353 | 7.4837 | 12.4436 | 2.5063 | 6.0971 | 7.5829 | 3.5537 | 6.4056 | 7.7156 | 3.2565 | 6.3622 | 7.8215 | 59361.62 | 41758.7893 | 17602.8307 | 42.15%
OSW | 0 | 20185.51 | 35459.62 | 35646.87 | 0 | 28865.32 | 35247 | 38387.81 | 0 | 25656.9938 | 41015.9643 | 59777.951 | 0 | 27293.3507 | 43152.8686 | 69388.4458 | 0 | 27293.3679 | 41237.0529 | 65700.3443 | OSW | [15 empty] | 37017.34 | 64955.5804 | -27938.2404 | -43.01%
Solar | 2811.847 | 19884.22 | 20799.87 | 21272.79 | 2811.847 | 23277.55 | 36884.02 | 60924.59 | 3908.3566 | 32964.64 | 52780.9752 | 80619.9695 | 3908.3553 | 28595.6866 | 51328.3224 | 75966.0905 | 3908.3879 | 31293.2324 | 53920.9446 | 76464.7628 | Solar | 6.0716 | 6.3972 | 6.5654 | 7.2784 | 12.1174 | 20.6671 | 7.4344 | 12.5046 | 19.6276 | 6.3166 | 12.133 | 18.4368 | 7.0067 | 12.7962 | 18.5643 | 21272.79 | 73493.8532 | -52221.0632 | -71.06%
Storage | 611.5673 | 7003.71 | 10084.12 | 21339.48 | 611.5673 | 2085.91 | 4492.14 | 13413.65 | -89.9588 | -1007.0577 | -1666.4707 | -2543.3679 | -89.8702 | -1044.7773 | -1989.1164 | -2730.4351 | -89.5015 | -1031.9951 | -1943.7356 | -2725.9938 | Storage | 10.4521 | 15.489 | 33.8931 | 2.4108 | 6.3453 | 20.9332 | 10.1947 | 17.5248 | 27.2726 | 10.6254 | 21.1332 | 29.382 | 10.5305 | 20.7174 | 29.4575
DEFR | 0 | 0 | 0 | 34005.49 | 0 | 0 | 0 | 5583.72 | 0 | 0 | 0 | 3342.2618 | 0 | 0 | 0 | 4439.5272 | 0 | 0 | 0 | 4643.5427 | DEFR | [15 empty] | 34005.49 | 4502.2629 | 29503.2271 | 655.3%
Other | [8 empty] | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | Other
Total | 143820.7573 | 167818.42 | 193887.06 | 245109.42 | 143820.7573 | 164575.04 | 207722.49 | 251154.56 | 157584.4466 | 178144.6326 | 225077.9017 | 260701.1232 | 157596.0463 | 181517.7588 | 228529.2025 | 267141.5974 | 157594.4701 | 182716.9174 | 228663.0226 | 264709.6233 | Total | [19 empty] | 8.245%
NYISO Outlook Study Scenarios and Integration Analysis Mitigation Scenarios capacity Factors (%)
| NYISO Outlook Scenario 1 |  |  |  | NYISO Outlook Scenario 2 |  |  |  | Strategic Use of Low-Carbon Fuels |  |  |  | Accelerated Transition from Combustion |  |  |  | Beyond 85% Reduction
Resource | 2019 | 2030 | 2035 | 2040 | 2019 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040
Nuclear | 96.03% | 93.14% | 96.16% | 91.93% | 96.03% | 93.63% | 96.16% | 91.93% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90%
Fossil | 21.96% | 10.75% | 7.804% |  | 21.96% | 12.98% | 13.43% |  | 30.48% | 12.99% | 12.41% |  | 30.48% | 13.08% | 16.96% |  | 30.48% | 13.54% | 11.71%
Hydro | 72.19% | 70.19% | 70.24% | 70.24% | 72.19% | 69.06% | 69.83% | 69.83% | 74.36% | 77.68% | 77.84% | 76.38% | 74.36% | 77.7% | 77.85% | 76.28% | 74.36% | 77.69% | 77.85% | 76.35%
LBW | 25.39% | 33.89% | 34.66% | 35.5% | 25.39% | 31.97% | 34.58% | 35.5% | 28.56% | 34.44% | 38.63% | 38.39% | 28.56% | 35.51% | 38.01% | 38.11% | 28.56% | 35.81% | 38.53% | 38.09%
OSW |  | 45.76% | 44.98% | 45.21% |  | 44.31% | 44.71% | 45.08% |  | 47.24% | 47.26% | 47.51% |  | 47.21% | 47.26% | 47.27% |  | 47.21% | 47.23% | 47.25%
Solar | 14.95% | 15.41% | 15.31% | 15.3% | 14.95% | 18.71% | 16.81% | 15.67% | 17.21% | 19.96% | 20.78% | 21.19% | 17.21% | 19.47% | 20.47% | 20.94% | 17.21% | 19.78% | 20.63% | 20.97%
Storage | 4.969% | 18.13% | 19.87% | 21.28% | 4.969% | 5.4% | 8.342% | 11.95% | -0.4699% | -2.592% | -2.633% | -2.39% | -0.4694% | -2.689% | -2.384% | -2.285% | -0.4675% | -2.656% | -2.865% | -2.392%
DEFR |  | 0% | 0% | 8.675% |  | 0% | 0% | 2.343% |  |  |  | 1.816% |  |  | 0% | 2.155% |  |  |  | 2.239%
Other | [8 empty] | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%

## CAC IA
NYISO Outlook Study Scenarios and Integration Analysis Mitigation Scenario 2 Installed Capacity (MW) | [12 empty] | NYISO Outlook Study Scenarios and Integration Analysis Mitigation Scenarios Installed Capacity (MW)
| NYISO Outlook Scenario 1 |  |  |  | NYISO Outlook Scenario 2 |  |  |  | Strategic Use of Low-Carbon Fuels |  |  |  |  | Resource 1 |  |  | Resource 2 |  |  | Integration 2 |  |  | Integration 3 |  |  | Integration 4
Resource | 2019 | 2030 | 2035 | 2040 | 2019 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040 | Resource | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040
Nuclear | 5400.1001 | 3363.5 | 3364.2 | 3364.2 | 5400.1001 | 3346.1 | 3364.2 | 3364.2 | 4860.2 | 3355.2 | 3355.2 | 3355.2 | Nuclear | -37.71% | -37.7% | -37.7% | -38.04% | -37.7% | -37.7% | -30.97% | -30.97% | -30.97% | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Fossil | 26262 | 21231.7 | 21233.7 | 0 | 26262 | 17650 | 16070.54 | 0 | 26388.1 | 21578.92 | 18078.2 | 0 | Fossil | -19.15% | -19.15% | -100% | -32.79% | -38.81% | -100% | -18.22% | -31.49% | -100% | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -8.949%
Hydro | 6330.7199 | 7537.06 | 7539.66 | 7540.06 | 6330.7199 | 7660.27 | 7583.76 | 7584.16 | 5753.86 | 7344.86 | 7344.86 | 7348.19 | Hydro | 19.06% | 19.1% | 19.1% | 21% | 19.79% | 19.8% | 27.65% | 27.65% | 27.71% | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
LBW | 1985.3 | 9086.2 | 12611.9 | 19087.2 | 1985.3 | 5889.83 | 12366.4 | 19087.2 | 1916.9 | 5573.93 | 10059.83 | 12242.2 | LBW | 3.5767 | 5.3526 | 8.6143 | 1.9667 | 5.229 | 8.6143 | 1.9078 | 4.248 | 5.3865 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 19087.2 | #REF! | #REF! | #REF!
OSW | 0 | 5036 | 9000 | 9000 | 0 | 7436 | 9000 | 9720 | 0 | 6200 | 9906.4 | 14363.65 | OSW | [15 empty] | 9360 | #REF! | #REF! | #REF!
Solar | 2147.5 | 14731.1 | 15504.1 | 15874.1 | 2147.5 | 14199.1 | 25049.09 | 44369.72 | 2591.84 | 18851.97 | 28993.94 | 43431.95 | Solar | 5.8597 | 6.2196 | 6.3919 | 5.6119 | 10.6643 | 19.6611 | 6.2736 | 10.1866 | 15.7572 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 15874.1 | #REF! | #REF! | #REF!
Storage | 1405.1 | 4409.9 | 5792.57 | 11450.03 | 1405.1 | 4409.9 | 6147.47 | 12809.9 | 2185.4 | 4435.46 | 7226.42 | 12148.57 | Storage | 2.1385 | 3.1225 | 7.1489 | 2.1385 | 3.3751 | 8.1167 | 1.0296 | 2.3067 | 4.559 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
DEFR | 0 | 419.64 | 7052.56 | 44750.23 | 0 | 819.31 | 3990.04 | 27200 | 0 | 0 | 0 | 21015.35 | DEFR | [15 empty] | 44750.23 | #REF! | #REF! | #REF!
Other | [8 empty] | 327 | 327 | 327 | 327 | Other
Total | 43530.7199 | 65815.1 | 82098.69 | 111065.82 | 43530.7199 | 61410.51 | 83571.5 | 124135.18 | 44023.3 | 67667.34 | 85291.85 | 114232.11 | Total | [19 empty] | 10.19%
NYISO Outlook Study Scenarios and Integration Analysis Mitigation Scenario 2 Generation (GWhr) | [12 empty] | NYISO Outlook Study Scenarios and Integration Analysis Mitigation Scenarios Generation (GWhr)
| NYISO Outlook Scenario 1 |  |  |  | NYISO Outlook Scenario 2 |  |  |  | Strategic Use of Low-Carbon Fuels |  |  |  |  | Resource 1 2030: Resource 1; Resource 2 2030: Resource 2; Integration 2 2030: Integration 2; Integration 3 2030: Integration 3; Integration 4 2030: Integration 4
Resource | 2019 | 2030 | 2035 | 2040 | 2019 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040 | Resource | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040 | 2030 | 2035 | 2040
Nuclear | 45428.5007 | 27444.03 | 28338.13 | 27092.16 | 45428.5007 | 27444.03 | 28338.13 | 27092.16 | 38317.8168 | 26452.3968 | 26452.3968 | 26452.3968 | Nuclear | -39.59% | -37.62% | -40.36% | -39.59% | -37.62% | -40.36% | -30.97% | -30.97% | -30.97% | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Fossil | 50519.6659 | 19987.32 | 14516.19 | 0 | 50519.6659 | 20066.34 | 18908.41 | 0 | 70449.4279 | 24561.8053 | 19650.9047 | 0 | Fossil | -60.44% | -71.27% | -100% | -60.28% | -62.57% | -100% | -65.14% | -72.11% | -100% | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Hydro | 40033.5704 | 46342.39 | 46392.32 | 46391.01 | 40033.5704 | 46342.39 | 46392.32 | 46391.01 | 37481.4093 | 49977.6058 | 50083.8904 | 49165.4621 | Hydro | 15.76% | 15.88% | 15.88% | 15.76% | 15.88% | 15.88% | 33.34% | 33.62% | 31.17% | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
LBW | 4415.606 | 26971.24 | 38296.81 | 59361.62 | 4415.606 | 16493.5 | 37460.47 | 59361.62 | 4796.1884 | 16817.0422 | 34039.0346 | 41165.2434 | LBW | 5.1082 | 7.6731 | 12.4436 | 2.7353 | 7.4837 | 12.4436 | 2.5063 | 6.0971 | 7.5829 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 59361.62 | #REF! | #REF! | #REF!
OSW | 0 | 20185.51 | 35459.62 | 35646.87 | 0 | 28865.32 | 35247 | 38387.81 | 0 | 25656.9938 | 41015.9643 | 59777.951 | OSW | [15 empty] | 37017.34 | #REF! | #REF! | #REF!
Solar | 2811.847 | 19884.22 | 20799.87 | 21272.79 | 2811.847 | 23277.55 | 36884.02 | 60924.59 | 3908.3566 | 32964.64 | 52780.9752 | 80619.9695 | Solar | 6.0716 | 6.3972 | 6.5654 | 7.2784 | 12.1174 | 20.6671 | 7.4344 | 12.5046 | 19.6276 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 21272.79 | #REF! | #REF! | #REF!
Storage | 611.5673 | 7003.71 | 10084.12 | 21339.48 | 611.5673 | 2085.91 | 4492.14 | 13413.65 | -89.9588 | -1007.0577 | -1666.4707 | -2543.3679 | Storage | 10.4521 | 15.489 | 33.8931 | 2.4108 | 6.3453 | 20.9332 | 10.1947 | 17.5248 | 27.2726 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
DEFR | 0 | 0 | 0 | 34005.49 | 0 | 0 | 0 | 5583.72 | 0 | 0 | 0 | 3342.2618 | DEFR | [15 empty] | 34005.49 | #REF! | #REF! | #REF!
Other | [8 empty] | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | Other
Total | 143820.7573 | 167818.42 | 193887.06 | 245109.42 | 143820.7573 | 164575.04 | 207722.49 | 251154.56 | 157584.4466 | 178144.6326 | 225077.9017 | 260701.1232 | Total | [19 empty] | 8.245%
NYISO Outlook Study Scenarios and Integration Analysis Mitigation Scenario 2 Capacity Factors (%)
| NYISO Outlook Scenario 1 |  |  |  | NYISO Outlook Scenario 2 |  |  |  | Strategic Use of Low-Carbon Fuels
Resource | 2019 | 2030 | 2035 | 2040 | 2019 | 2030 | 2035 | 2040 | 2020 | 2030 | 2035 | 2040
Nuclear | 96.03% | 93.14% | 96.16% | 91.93% | 96.03% | 93.63% | 96.16% | 91.93% | 90% | 90% | 90% | 90%
Fossil | 21.96% | 10.75% | 7.804% |  | 21.96% | 12.98% | 13.43% |  | 30.48% | 12.99% | 12.41%
Hydro | 72.19% | 70.19% | 70.24% | 70.24% | 72.19% | 69.06% | 69.83% | 69.83% | 74.36% | 77.68% | 77.84% | 76.38%
LBW | 25.39% | 33.89% | 34.66% | 35.5% | 25.39% | 31.97% | 34.58% | 35.5% | 28.56% | 34.44% | 38.63% | 38.39%
OSW |  | 45.76% | 44.98% | 45.21% |  | 44.31% | 44.71% | 45.08% |  | 47.24% | 47.26% | 47.51%
Solar | 14.95% | 15.41% | 15.31% | 15.3% | 14.95% | 18.71% | 16.81% | 15.67% | 17.21% | 19.96% | 20.78% | 21.19%
Storage | 4.969% | 18.13% | 19.87% | 21.28% | 4.969% | 5.4% | 8.342% | 11.95% | -0.4699% | -2.592% | -2.633% | -2.39%
DEFR |  | 0% | 0% | 8.675% |  | 0% | 0% | 2.343% |  |  |  | 1.816%
Other | [8 empty] | 95% | 95% | 95% | 95%

## NYISO
NYISO 2021-2040 System & Resource Outlook Data
https://www.nyiso.com/documents/20142/32810936/2021-2040_System_Resource_Outlook_Data.xlsx/86359d07-fd48-4544-24c3-8049bb0f1d23
NYISO Outlook Study Figure 44: S1 Capacity and Generation Results | [5 empty] | NYISO Outlook Study Figure 45: S2 Capacity and Generation Results
Installed Capacity (MW) | [5 empty] | Installed Capacity (MW)
Resource | 2019 | 2025 | 2030 | 2035 | 2040 | Resource | 2019 | 2025 | 2030 | 2035 | 2040
Nuclear | 5400.1001 | 3346.1 | 3363.5 | 3364.2 | 3364.2 | Nuclear | 5400.1001 | 3346.1 | 3346.1 | 3364.2 | 3364.2
Fossil | 26262 | 21309.83 | 21231.7 | 21233.7 | 0 | Fossil | 26262 | 19988.2 | 17650 | 16070.54 | 0
DEFR - HcLo | 0 | 0 | 0 | 0 | 3811.75 | DEFR - HcLo | 0 | 0 | 0 | 0 | 0
DEFR - McMo | 0 | 0 | 0 | 0 | 0 | DEFR - McMo | 0 | 0 | 819.31 | 3990.04 | 27200
DEFR- LcHo | 0 | 0 | 419.64 | 7052.56 | 40938.48 | DEFR- LcHo | 0 | 0 | 0 | 0 | 0
Hydro | 6330.7199 | 6301.86 | 7537.06 | 7539.66 | 7540.06 | Hydro | 6330.7199 | 6414.52 | 7660.27 | 7583.76 | 7584.16
LBW | 1985.3 | 3334.78 | 9086.2 | 12611.9 | 19087.2 | LBW | 1985.3 | 3137.78 | 5889.83 | 12366.4 | 19087.2
OSW | 0 | 1826 | 5036 | 9000 | 9000 | OSW | 0 | 1826 | 7436 | 9000 | 9720
UPV | 31.5 | 4676.1 | 4676.1 | 4676.1 | 4676.1 | UPV | 31.5 | 4676.1 | 4676.1 | 13448.09 | 28605.72
BTM-PV | 2116 | 6834 | 10055 | 10828 | 11198 | BTM-PV | 2116 | 6000 | 9523 | 11601 | 15764
Storage | 1405.1 | 2909.9 | 4409.9 | 5792.57 | 11450.03 | Storage | 1405.1 | 2909.9 | 4409.9 | 6147.47 | 12809.9
Total | 43530.7199 | 50538.57 | 65815.1 | 82098.69 | 111065.82 | Total | 43838.1199 | 48522.7 | 62453.92 | 87786.64 | 124135.18
Generation (GWh) | [5 empty] | Generation (GWh)
Resource | 2019 | 2025 | 2030 | 2035 | 2040 | Resource | 2019 | 2025 | 2030 | 2035 | 2040
Nuclear | 45428.5007 | 28337.96 | 27444.03 | 28338.13 | 27092.16 | Nuclear | 45428.5007 | 28337.96 | 27444.03 | 28338.13 | 27092.16
Fossil | 50519.6659 | 54173.71 | 19987.32 | 14516.19 | 0 | Fossil | 50519.6659 | 52436.5 | 20066.34 | 18908.41 | 0
DEFR - HcLo | 0 | 0 | 0 | 0 | 33482.39 | DEFR - HcLo | 0 | 0 | 0 | 0 | 0
DEFR - McMo | 0 | 0 | 0 | 0 | 0 | DEFR - McMo | 0 | 0 | 0 | 0 | 5583.72
DEFR - LcHo | 0 | 0 | 0 | 0 | 523.1 | DEFR - LcHo | 0 | 0 | 0 | 0 | 0
Hydro | 40033.5704 | 36417.65 | 46342.39 | 46392.32 | 46391.01 | Hydro | 40033.5704 | 36417.65 | 46342.39 | 46392.32 | 46391.01
LBW | 4415.606 | 8189.24 | 26971.24 | 38296.81 | 59361.62 | LBW | 4415.606 | 7518.12 | 16493.5 | 37460.47 | 59361.62
OSW | 0 | 7331.05 | 20185.51 | 35459.62 | 35646.87 | OSW | 0 | 7331.05 | 28865.32 | 35247 | 38387.81
UPV | 50.522 | 8816.62 | 8816.21 | 8816.92 | 8818.83 | UPV | 50.522 | 8816.62 | 8816.21 | 19661.12 | 37704.52
BTM-PV | 2761.325 | 7483.13 | 11068.01 | 11982.95 | 12453.96 | BTM-PV | 2761.325 | 7631.17 | 14461.34 | 17222.9 | 23220.07
Storage | 611.5673 | 4346.75 | 7003.71 | 10084.12 | 21339.48 | Storage | 611.5673 | 4006.64 | 2085.91 | 4492.14 | 13413.65
Total Generation | 146262.0241 | 157087.9 | 169810.21 | 195878.85 | 245109.42 | Total Generation | 146262.0241 | 154487.5 | 166566.83 | 209714.28 | 251154.56
RE Generation | 47261.0234 | 68237.69 | 113383.36 | 140948.62 | 162672.29 | RE Generation | 47261.0234 | 67714.61 | 114978.76 | 155983.81 | 205065.03
ZE Generation | 93301.0914 | 100922.4 | 147831.1 | 179370.87 | 245109.42 | ZE Generation | 93301.0914 | 100059.21 | 144508.7 | 188814.08 | 251154.56
Load | 151386.1805 | 152335.91 | 162121.7 | 184835.71 | 221827.96 | Load | 151386.1805 | 150046.54 | 164255.35 | 204763.79 | 236334.45
Load+Charge | 151772.6874 | 157088.51 | 169810.79 | 195879.43 | 245109.43 | Load+Charge | 151772.6874 | 154488.12 | 166567.39 | 209714.87 | 251154.57
% RE [RE/Load] | 31.22% | 44.79% | 69.94% | 76.26% | 73.33% | % RE [RE/Load] | 31.22% | 45.13% | 70% | 76.18% | 86.77%
%ZE[ZE/(Load+Charge)] | 61.47% | 64.25% | 87.06% | 91.57% | 100% | %ZE[ZE/(Load+Charge)] | 61.47% | 64.77% | 86.76% | 90.03% | 100%
Emissions (million tons) | [5 empty] | Emissions (million tons)
| 2019 | 2025 | 2030 | 2035 | 2040 |  | 2019 | 2025 | 2030 | 2035 | 2040
CO2 (million tons) | 22.24 | 23.53 | 8.5 | 6.22 | 0 | CO2 (million tons) | 22.24 | 23.53 | 8.5 | 6.22 | 0

## Integration Analysis
Mitigation Scenarios Summary Fuel Mix (Capacity) | [8 empty] | Mitigation Scenarios Summary Annual Fuel Mix Generation (GWh) | [8 empty] | Mitigation Scenarios Summary Capacity Factors
Scenario 2 | Unit | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | Scenario 2 | Unit | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | Scenario 2 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Nuclear | MW | 4860.2 | 3355.2 | 3355.2 | 3355.2 | 3355.2 | 3355.2 | 2135.4 | Nuclear | GWh | 38317.8168 | 26452.3968 | 26452.3968 | 26452.3968 | 26452.3968 | 26452.3968 | 16835.4936 | Nuclear | 90% | 90% | 90% | 90% | 90% | 90% | 90%
Gas & FO | MW | 26388.1 | 25775.2 | 21578.92 | 18078.2 | 0 | 0 | 0 | Gas & FO | GWh | 70449.4279 | 58305.2194 | 24561.8053 | 19650.9047 | 0 | 0 | 0 | Gas & FO | 30.48% | 25.82% | 12.99% | 12.41%
Zero-Carbon Firm Resource | MW | 0 | 0 | 0 | 0 | 21015.35 | 21575.5 | 21289.9 | Zero-Carbon Firm Resource | GWh | 0 | 0 | 0 | 0 | 3342.2618 | 3675.0183 | 4152.5855 | Zero-Carbon Firm Resource |  |  |  |  | 1.816% | 1.944% | 2.227%
Biomass | MW | 327 | 327 | 327 | 327 | 327 | 275 | 177.9 | Biomass | GWh | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2288.4624 | 1480.44 | Biomass | 95% | 95% | 95% | 95% | 95% | 95% | 95%
In-State Hydro | MW | 4268.86 | 4268.86 | 4609.86 | 4609.86 | 4613.19 | 4613.19 | 4613.19 | In-State Hydro | GWh | 27120.8681 | 27011.1338 | 30857.0663 | 30963.3502 | 30044.9218 | 30020.9742 | 30009.4229 | In-State Hydro | 72.52% | 72.23% | 76.41% | 76.68% | 74.35% | 74.29% | 74.26%
Hydro Imports (Existing) | MW | 1485 | 1485 | 1485 | 1485 | 1485 | 1485 | 1485 | Hydro Imports (Existing) | GWh | 10360.5412 | 10360.5384 | 10360.5402 | 10360.5356 | 10360.5411 | 10360.5354 | 10360.5227 | Hydro Imports (Existing) | 79.64% | 79.64% | 79.64% | 79.64% | 79.64% | 79.64% | 79.64%
Hydro Imports (New) | MW | 0 | 0 | 1250 | 1250 | 1250 | 1250 | 1250 | Hydro Imports (New) | GWh | 0 | 0 | 8759.9994 | 8760.0047 | 8759.9992 | 8760.006 | 8760.0058 | Hydro Imports (New) |  |  | 80% | 80% | 80% | 80% | 80%
Wind | MW | 1916.9 | 3292.48 | 3814.08 | 4263.35 | 5845.41 | 7780.65 | 9445.26 | Wind | GWh | 4796.1884 | 8238.0029 | 9873.3771 | 11228.5359 | 16034.8688 | 21853.6983 | 26935.9879 | Wind | 28.56% | 28.56% | 29.55% | 30.07% | 31.31% | 32.06% | 32.55%
Wind Imports | MW | 0 | 0 | 1759.85 | 5796.48 | 6396.79 | 6396.79 | 6396.8 | Wind Imports | GWh | 0 | 0 | 6943.6651 | 22810.4987 | 25130.3747 | 24915.9126 | 24930.7585 | Wind Imports |  |  | 45.04% | 44.92% | 44.85% | 44.46% | 44.49%
Wind_Offshore | MW | 0 | 1826 | 6200 | 9906.4 | 14363.65 | 16392.51 | 16392.59 | Wind_Offshore | GWh | 0 | 7611.0293 | 25656.9938 | 41015.9643 | 59777.951 | 68286.8102 | 68521.5215 | Wind_Offshore |  | 47.58% | 47.24% | 47.26% | 47.51% | 47.55% | 47.72%
Solar | MW | 2591.84 | 8201.47 | 18851.97 | 28993.94 | 43431.95 | 53088.55 | 64621.08 | Solar | GWh | 3908.3566 | 13086.9009 | 32964.64 | 52780.9752 | 80619.9695 | 100947.7757 | 125291.561 | Solar | 17.21% | 18.22% | 19.96% | 20.78% | 21.19% | 21.71% | 22.13%
Battery Storage | MW | 750 | 1500.01 | 3000.06 | 5791.02 | 10713.17 | 17046.02 | 21464.92 | Battery Storage | GWh | -16.3645 | 46.6794 | -774.2884 | -1543.0934 | -2195.546 | -3406.1498 | -4318.6474 | Battery Storage | -0.2491% | 0.3552% | -2.946% | -3.042% | -2.339% | -2.281% | -2.297%
Pumped Storage | MW | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | Pumped Storage | GWh | -73.5943 | -50.0004 | -232.7693 | -123.3772 | -347.8219 | -379.5744 | -476.3368 | Pumped Storage | -0.5853% | -0.3976% | -1.851% | -0.9812% | -2.766% | -3.019% | -3.788%
[9 empty] | Imports* | GWh | 4694.4529 | 3826.7323 | 2308.6486 | 4572.8033 | 13545.2059 | 14265.5486 | 14817.5761
[9 empty] | Exports | GWh | -3319.6928 | -6628.3234 | -10716.4011 | -13457.7406 | -13545.1992 | -14265.5708 | -14817.6279
[9 empty] | Load | GWh | 158963.4029 | 150985.1334 | 169743.7421 | 216201.101 | 260708.0575 | 293785.6593 | 312488.3807
Scenario 3 | Unit | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | Scenario 3 | Unit | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | Scenario 3 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Nuclear | MW | 4860.2 | 3355.2 | 3355.2 | 3355.2 | 3355.2 | 3355.2 | 2135.4 | Nuclear | GWh | 38317.8168 | 26452.3968 | 26452.3968 | 26452.3968 | 26452.3968 | 26452.3968 | 16835.4936 | Nuclear | 90% | 90% | 90% | 90% | 90% | 90% | 90%
Gas & FO | MW | 26388.1 | 25775.2 | 22397.68 | 14292.33 | 0 | 0 | 0 | Gas & FO | GWh | 70460.5745 | 57868.7261 | 25668.4258 | 21230.7915 | 0 | 0 | 0 | Gas & FO | 30.48% | 25.63% | 13.08% | 16.96%
Zero-Carbon Firm Resource | MW | 0 | 0 | 0 | 5489.27 | 23521.59 | 25230.2 | 25359.33 | Zero-Carbon Firm Resource | GWh | 0 | 0 | 0 | 0 | 4439.5272 | 5418.7917 | 6398.9417 | Zero-Carbon Firm Resource |  |  |  | 0% | 2.155% | 2.452% | 2.88%
Biomass | MW | 327 | 327 | 327 | 327 | 327 | 275 | 177.9 | Biomass | GWh | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2288.4624 | 1480.44 | Biomass | 95% | 95% | 95% | 95% | 95% | 95% | 95%
In-State Hydro | MW | 4268.86 | 4268.86 | 4609.86 | 4613.19 | 4613.19 | 4613.19 | 4613.19 | In-State Hydro | GWh | 27121.2292 | 26994.797 | 30870.3412 | 30993.3424 | 29982.2174 | 29995.6624 | 29997.1888 | In-State Hydro | 72.53% | 72.19% | 76.45% | 76.69% | 74.19% | 74.23% | 74.23%
Hydro Imports (Existing) | MW | 1485 | 1485 | 1485 | 1485 | 1485 | 1485 | 1485 | Hydro Imports (Existing) | GWh | 10360.5424 | 10360.5401 | 10360.5336 | 10360.5336 | 10360.5293 | 10360.5367 | 10360.5302 | Hydro Imports (Existing) | 79.64% | 79.64% | 79.64% | 79.64% | 79.64% | 79.64% | 79.64%
Hydro Imports (New) | MW | 0 | 0 | 1250 | 1250 | 1250 | 1250 | 1250 | Hydro Imports (New) | GWh | 0 | 0 | 8760.0007 | 8760.0012 | 8760.0019 | 8760.0087 | 8760.0024 | Hydro Imports (New) |  |  | 80% | 80% | 80% | 80% | 80%
Wind | MW | 1916.9 | 3292.48 | 4600.06 | 5219.95 | 6125.85 | 8250.12 | 10153.7 | Wind | GWh | 4796.1919 | 8238.0057 | 12296.2774 | 14129.9719 | 16799.3541 | 23199.946 | 28946.7579 | Wind | 28.56% | 28.56% | 30.51% | 30.9% | 31.31% | 32.1% | 32.54%
Wind Imports | MW | 0 | 0 | 2421.07 | 5448.19 | 6396.78 | 6592.94 | 6592.94 | Wind Imports | GWh | 0 | 0 | 9544.317 | 21388.8841 | 25002.263 | 25563.2038 | 25546.1967 | Wind Imports |  |  | 45% | 44.82% | 44.62% | 44.26% | 44.23%
Wind_Offshore | MW | 0 | 1826 | 6600 | 10422.76 | 16756.49 | 19277.82 | 19277.83 | Wind_Offshore | GWh | 0 | 7611.0392 | 27293.3507 | 43152.8686 | 69388.4458 | 79539.7968 | 80046.0894 | Wind_Offshore |  | 47.58% | 47.21% | 47.26% | 47.27% | 47.1% | 47.4%
Solar | MW | 2591.84 | 8201.47 | 16762.46 | 28625.44 | 41420.31 | 49041.98 | 60604.13 | Solar | GWh | 3908.3553 | 13086.9108 | 28595.6866 | 51328.3224 | 75966.0905 | 92093.9408 | 116044.4612 | Solar | 17.21% | 18.22% | 19.47% | 20.47% | 20.94% | 21.44% | 21.86%
Battery Storage | MW | 750.02 | 1500.02 | 3000.06 | 8089.95 | 12207.02 | 16382.72 | 19212.41 | Battery Storage | GWh | -15.8276 | 65.9558 | -821.7858 | -1874.5951 | -2442.6132 | -3249.0675 | -4080.5904 | Battery Storage | -0.2409% | 0.5019% | -3.127% | -2.645% | -2.284% | -2.264% | -2.425%
Pumped Storage | MW | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | Pumped Storage | GWh | -74.0426 | -63.7116 | -222.9916 | -114.5213 | -287.8219 | -310.1544 | -394.9727 | Pumped Storage | -0.5888% | -0.5067% | -1.773% | -0.9108% | -2.289% | -2.467% | -3.141%
[9 empty] | Imports* | GWh | 4695.1879 | 3832.1472 | 3330.3215 | 5004.8701 | 13978.0253 | 14458.736 | 15072.6842
[9 empty] | Exports | GWh | -3319.3042 | -6656.9921 | -11479.5024 | -14461.4298 | -13978.0544 | -14458.7486 | -15072.7131
[9 empty] | Load | GWh | 158973.3689 | 150511.7259 | 173371.29 | 219076.041 | 267142.8468 | 300115.1374 | 319942.3018
Scenario 4 | Unit | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | Scenario 4 | Unit | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | Scenario 4 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Nuclear | MW | 4860.2 | 3355.2 | 3355.2 | 3355.2 | 3355.2 | 3355.2 | 2135.4 | Nuclear | GWh | 38317.8168 | 26452.3968 | 26452.3968 | 26452.3968 | 26452.3968 | 26452.3968 | 16835.4936 | Nuclear | 90% | 90% | 90% | 90% | 90% | 90% | 90%
Gas & FO | MW | 26388.1 | 25775.2 | 21579.05 | 20326.41 | 0 | 0 | 0 | Gas & FO | GWh | 70458.6696 | 58123.6208 | 25586.5948 | 20849.7572 | 0 | 0 | 0 | Gas & FO | 30.48% | 25.74% | 13.54% | 11.71%
Zero-Carbon Firm Resource | MW | 0 | 0 | 0 | 0 | 23676.28 | 24333.41 | 24047.84 | Zero-Carbon Firm Resource | GWh | 0 | 0 | 0 | 0 | 4643.5427 | 5613.6863 | 6608.501 | Zero-Carbon Firm Resource |  |  |  |  | 2.239% | 2.634% | 3.137%
Biomass | MW | 327 | 327 | 327 | 327 | 327 | 275 | 177.9 | Biomass | GWh | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2721.2064 | 2288.4624 | 1480.44 | Biomass | 95% | 95% | 95% | 95% | 95% | 95% | 95%
In-State Hydro | MW | 4268.86 | 4268.86 | 4609.86 | 4613.19 | 4613.19 | 4613.19 | 4613.19 | In-State Hydro | GWh | 27121.1456 | 27000.2786 | 30866.5051 | 30994.2603 | 30023.3198 | 30008.1489 | 30005.9627 | In-State Hydro | 72.53% | 72.2% | 76.44% | 76.7% | 74.29% | 74.26% | 74.25%
Hydro Imports (Existing) | MW | 1485 | 1485 | 1485 | 1485 | 1485 | 1485 | 1485 | Hydro Imports (Existing) | GWh | 10360.5415 | 10360.5434 | 10360.5453 | 10360.5344 | 10360.5354 | 10360.525 | 10360.5481 | Hydro Imports (Existing) | 79.64% | 79.64% | 79.64% | 79.64% | 79.64% | 79.64% | 79.64%
Hydro Imports (New) | MW | 0 | 0 | 1250 | 1250 | 1250 | 1250 | 1250 | Hydro Imports (New) | GWh | 0 | 0 | 8760.0048 | 8760.005 | 8760.0016 | 8760.0065 | 8760.0046 | Hydro Imports (New) |  |  | 80% | 80% | 80% | 80% | 80%
Wind | MW | 1916.9 | 3292.48 | 3859.26 | 4491.1 | 6282.46 | 8304.67 | 11052.12 | Wind | GWh | 4796.2038 | 8238.0132 | 9965.8499 | 11855.7749 | 17274.4303 | 23376.107 | 31606.4658 | Wind | 28.56% | 28.56% | 29.48% | 30.14% | 31.39% | 32.13% | 32.65%
Wind Imports | MW | 0 | 0 | 2649.16 | 5970.33 | 6396.79 | 6396.8 | 6396.8 | Wind Imports | GWh | 0 | 0 | 10449.2092 | 23454.8257 | 25035.0768 | 24848.8858 | 24810.8321 | Wind Imports |  |  | 45.03% | 44.85% | 44.68% | 44.34% | 44.28%
Wind_Offshore | MW | 0 | 1826 | 6600 | 9967.44 | 15874.67 | 18065.78 | 18310 | Wind_Offshore | GWh | 0 | 7611.0622 | 27293.3679 | 41237.0529 | 65700.3443 | 74599.7011 | 76263.2047 | Wind_Offshore |  | 47.58% | 47.21% | 47.23% | 47.25% | 47.14% | 47.55%
Solar | MW | 2591.84 | 8201.47 | 18060.33 | 29841.48 | 41623.44 | 53450.27 | 65210.26 | Solar | GWh | 3908.3879 | 13086.9215 | 31293.2324 | 53920.9446 | 76464.7628 | 101266.9665 | 125979.6697 | Solar | 17.21% | 18.22% | 19.78% | 20.63% | 20.97% | 21.63% | 22.05%
Battery Storage | MW | 750 | 1500 | 3000.02 | 6310.52 | 11576.19 | 18972.91 | 22955.77 | Battery Storage | GWh | -15.6738 | 60.9968 | -812.221 | -1780.6385 | -2381.0387 | -3843.7474 | -4823.215 | Battery Storage | -0.2386% | 0.4642% | -3.091% | -3.221% | -2.348% | -2.313% | -2.399%
Pumped Storage | MW | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | Pumped Storage | GWh | -73.8277 | -59.0599 | -219.774 | -163.0971 | -344.955 | -306.3657 | -425.6644 | Pumped Storage | -0.5871% | -0.4697% | -1.748% | -1.297% | -2.743% | -2.436% | -3.385%
[9 empty] | Imports* | GWh | 4694.3453 | 3834.1523 | 3303.0165 | 5017.0371 | 14006.3477 | 14780.4683 | 15101.0969
[9 empty] | Exports | GWh | -3318.332 | -6628.3596 | -10778.6982 | -14091.9118 | -14006.3507 | -14780.4847 | -15101.0724
[9 empty] | Load | GWh | 158973.3591 | 150804.1549 | 175244.9398 | 219592.7029 | 264711.7018 | 303430.5943 | 327470.175
Reference Case | Unit | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Nuclear | MW | 4860.2 | 3355.2 | 2135.4 | 1287.2 | 1287.2 | 1287.2 | 0
Gas & FO | MW | 26388.1 | 25775.2 | 20756.06 | 15352.17 | 16318.98 | 17822.41 | 18638.61
Zero-Carbon Firm Resource | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
Biomass | MW | 327 | 327 | 327 | 327 | 327 | 275 | 177.9
In-State Hydro | MW | 4268.86 | 4268.86 | 4609.85 | 4609.85 | 4609.85 | 4609.85 | 4609.85
Hydro Imports (Existing) | MW | 1485 | 1485 | 1485 | 1485 | 1485 | 1485 | 1485
Hydro Imports (New) | MW | 0 | 0 | 1250 | 1250 | 1250 | 1250 | 1250
Wind | MW | 1916.9 | 3292.48 | 3786.66 | 3786.66 | 3786.66 | 3786.66 | 3786.66
Wind Imports | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind_Offshore | MW | 0 | 1826 | 6200 | 9000 | 9000 | 9000 | 9000
Solar | MW | 2591.84 | 8201.47 | 13644.09 | 14387 | 14660.64 | 14941.74 | 19956.35
Battery Storage | MW | 750 | 1500.03 | 3000.02 | 4655.33 | 4872.28 | 5123.33 | 8225.24
Pumped Storage | MW | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4 | 1435.4
Delta relative to Reference Case
Scenario 2 | Unit | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Nuclear | MW | 0 | 0 | 1219.8 | 2068 | 2068 | 2068 | 2135.4
Gas & FO | MW | 0 | 0 | 822.86 | 2726.03 | -16318.98 | -17822.41 | -18638.61
Zero-Carbon Firm Resource | MW | 0 | 0 | 0 | 0 | 21015.35 | 21575.5 | 21289.9
Biomass | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
In-State Hydro | MW | 0 | 0 | 0.01 | 0.01 | 3.34 | 3.34 | 3.34
Hydro Imports (Existing) | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Imports (New) | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | MW | 0 | 0 | 27.42 | 476.69 | 2058.75 | 3993.99 | 5658.6
Wind Imports | MW | 0 | 0 | 1759.85 | 5796.48 | 6396.79 | 6396.79 | 6396.8
Wind_Offshore | MW | 0 | 0 | 0 | 906.4 | 5363.65 | 7392.51 | 7392.59
Solar | MW | 0 | 0 | 5207.88 | 14606.94 | 28771.31 | 38146.81 | 44664.73
Battery Storage | MW | 0 | -0.02 | 0.04 | 1135.69 | 5840.89 | 11922.69 | 13239.68
Pumped Storage | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scenario 3 | Unit | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Nuclear | MW | 0 | 0 | 1219.8 | 2068 | 2068 | 2068 | 2135.4
Gas & FO | MW | 0 | 0 | 1641.62 | -1059.84 | -16318.98 | -17822.41 | -18638.61
Zero-Carbon Firm Resource | MW | 0 | 0 | 0 | 5489.27 | 23521.59 | 25230.2 | 25359.33
Biomass | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
In-State Hydro | MW | 0 | 0 | 0.01 | 3.34 | 3.34 | 3.34 | 3.34
Hydro Imports (Existing) | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Imports (New) | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | MW | 0 | 0 | 813.4 | 1433.29 | 2339.19 | 4463.46 | 6367.04
Wind Imports | MW | 0 | 0 | 2421.07 | 5448.19 | 6396.78 | 6592.94 | 6592.94
Wind_Offshore | MW | 0 | 0 | 400 | 1422.76 | 7756.49 | 10277.82 | 10277.83
Solar | MW | 0 | 0 | 3118.37 | 14238.44 | 26759.67 | 34100.24 | 40647.78
Battery Storage | MW | 0.02 | -0.01 | 0.04 | 3434.62 | 7334.74 | 11259.39 | 10987.17
Pumped Storage | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scenario 4 | Unit | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Nuclear | MW | 0 | 0 | 1219.8 | 2068 | 2068 | 2068 | 2135.4
Gas & FO | MW | 0 | 0 | 822.99 | 4974.24 | -16318.98 | -17822.41 | -18638.61
Zero-Carbon Firm Resource | MW | 0 | 0 | 0 | 0 | 23676.28 | 24333.41 | 24047.84
Biomass | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
In-State Hydro | MW | 0 | 0 | 0.01 | 3.34 | 3.34 | 3.34 | 3.34
Hydro Imports (Existing) | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Imports (New) | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | MW | 0 | 0 | 72.6 | 704.44 | 2495.8 | 4518.01 | 7265.46
Wind Imports | MW | 0 | 0 | 2649.16 | 5970.33 | 6396.79 | 6396.8 | 6396.8
Wind_Offshore | MW | 0 | 0 | 400 | 967.44 | 6874.67 | 9065.78 | 9310
Solar | MW | 0 | 0 | 4416.24 | 15454.48 | 26962.8 | 38508.53 | 45253.91
Battery Storage | MW | 0 | -0.03 | 0 | 1655.19 | 6703.91 | 13849.58 | 14730.53
Pumped Storage | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0

## NREL Table 1
Getting to 100%: Six strategies for the challenging last 10%,
|  |  | Resource | Technology
Strategy* | Example technologies | Economic factors1* | constraints | maturity | Other considerations
Ideal solution | n/a | low capex, low opex | low | high | low environmental impact, synergistic interactions with other sectors
Variable renewable energy | wind, solar photovoltaics | low-medium capex, low opex | medium | high | electrical transmission and storage, land use, social acceptance, weather dependent
Other renewable energy | geothermal | medium-high capex, low opex | high | high | geographic constraints
| hydropower | medium-high capex, low opex | high | high | geographic constraints, shared water resource
| biopower | high capex, medium opex | high (feedstock) | high | biomass sustainability and competition
| biogas and biodiesel combustion turbine | low capex, high opex | high (feedstock) | medium | biomass sustainability and competition
Nuclear and fossil with carbon capture | advanced nuclear | high capex, medium opex | medium | medium | security, supply chain, regulatory and cost uncertainties
| fossil with carbon capture and storage | high capex, medium opex | medium | low | upstream emissions, CO2 transport and sequestration
Seasonal storage | H2 combustion turbine | low capex, high opex | low | medium | H2 storage and transport, H2 competition
| H2 fuel cell | potential for low capex, high opex | low | low | H2 storage and transport,
Carbon dioxide removal | bioenergy with carbon capture and storage | high capex,0 high opex | medium-high | low | biomass sustainability and competition, CO2 storage and transport
| direct air carbon capture and storage | high capex, high opex | low | low | CO2 storage and transport
Demand-side resources | varied | low capex, uncertain opportunity cost | unknown | medium | communications and control equipment, reliability